{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Form","Types","GIS Data"],"not_rendered":{"charts":0,"images":6,"macros":1,"external_links":0,"defined_names":98,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Form","index":0,"n_rows":47,"n_cols":12,"rows_kept":47,"cut":false,"hidden":false,"merged":[[31,0,31,8],[11,7,11,8],[12,7,12,8],[13,7,13,8],[14,7,14,8],[17,7,17,8],[2,0,2,2],[3,0,3,2],[4,0,4,2],[5,0,5,2],[6,0,6,2],[7,0,7,2],[12,0,12,1],[13,0,13,1],[14,0,14,1],[11,3,11,4],[12,3,12,4],[13,3,13,4],[14,3,14,4],[46,0,48,11],[22,7,27,11],[11,9,11,11],[12,9,12,11],[13,9,13,11],[14,9,14,11],[12,5,12,6],[13,5,13,6],[14,5,14,6],[32,0,32,8],[33,0,33,8],[31,9,31,11],[32,9,32,11],[33,9,33,11],[17,0,17,1],[18,0,18,1],[19,0,19,1],[20,0,20,1],[20,7,20,8],[17,3,17,4],[18,3,18,4],[19,3,19,4],[20,3,20,4],[11,0,11,1],[7,9,7,11],[2,6,2,8],[2,3,2,5],[3,3,3,5],[4,3,4,5],[5,3,5,5],[6,3,6,5],[2,9,2,11],[3,9,3,11],[4,9,4,11],[5,9,5,11],[6,9,6,11],[4,6,4,8],[3,6,3,8],[5,6,5,8],[6,6,6,8],[7,6,7,8],[7,3,7,5],[0,0,0,11],[43,0,43,1],[43,3,43,6],[37,8,37,10],[38,8,38,10],[40,8,40,10],[41,8,41,10],[42,8,42,10],[43,8,43,10],[42,0,42,1],[37,3,37,6],[38,3,38,6],[39,3,39,6],[40,3,40,6],[41,3,41,6],[42,3,42,6],[37,0,37,1],[38,0,38,1],[39,0,39,1],[40,0,40,1],[41,0,41,1],[15,0,15,2],[21,0,21,2],[28,0,28,2],[39,8,39,11],[16,3,16,4],[16,7,16,8],[22,0,22,2],[30,0,30,11],[36,0,36,2],[36,3,36,7],[36,8,36,11],[1,0,1,11],[9,0,9,2],[9,3,9,6],[9,7,9,11],[10,7,10,11],[10,3,10,6],[10,0,10,2],[11,5,11,6],[35,0,35,11],[16,0,16,2],[23,0,23,1],[24,0,24,1],[25,0,26,0],[27,0,27,1],[18,7,18,8],[19,7,19,8]]}
["City of Arlington Curb Ramp Evaluation Form"]
["(A) Background Information"]
["(A1.1) Ramp ID Number:",null,null,"R003",null,null,"(A1.7) Road Name (1) (N/S):",null,null,"WEST AVE"]
["(A1.2) GPS Coordinations:",null,null,"N/A",null,null,"(A1.8) Road Name (2) (E/W):",null,null,"COX AVE"]
["(A1.3) Evaluator Name:",null,null,"IAN DAVIS",null,null,"(A1.9) Quadrant or Side of Road:",null,null,"S/W"]
["(A1.4) Date Evaluated:",null,null,"2015-06-10",null,null,"(A1.10) Number of Approaches:",null,null,3]
["(A1.5) Ramp Location:",null,null,"H",null,null,"(A1.11) Traffic Controll Type:",null,null,"2 WAY STOP"]
["(A1.6) Ramp Type:",null,null,"Perpendicular",null,null,"(A1.12) Marked Crosswalked (Y/N)?",null,null,"N"]
[]
["(B) Perpendicular Ramps  ",null,null,"(D) Parallel Ramps",null,null,null,"(E) Combination Ramps"]
["(B1) Landing",null,null,"(D1) Landing",null,null,null,"(E1) Landing"]
["(B1.1) Run Slope (%):",null,null,"(D1.1) Run Slope (%):",null,1.7999999999999999E-2,null,"(E1.1) Run Slope (%):"]
["(B1.2) Cross Slope (%):",null,null,"(D1.2) Cross Slope (%):",null,1.7000000000000001E-2,null,"(E1.2) Cross Slope (%):"]
["(B1.3) Length (ft):",null,null,"(D2.3) Length (ft):",null,4.9000000000000004,null,"(E1.3) Length (ft):"]
["(B1.4) Width (ft):",null,null,"(D1.4) Width (ft):",null,5,null,"(E1.4) Width (ft):"]
[]
["(B2) Ramp",null,null,"(D2) Ramps",null,"Left","Right","(E2) Ramps",null,"Left","Center","Right"]
["(B2.1) Cross Slope (%):",null,null,"(D2.1) Cross Slope (%):",null,1.4E-2,1.4E-2,"(E2.1) Cross Slope (%):"]
["(B2.2) Width (ft):",null,null,"(D2.2) Width (ft):",null,4.9000000000000004,4.9000000000000004,"(E2.2) Width (ft):"]
["(B2.3) Run Slope (%):",null,null,"(D2.3) Run Slope (%):",null,7.3999999999999996E-2,4.2000000000000003E-2,"(E2.3) Run Slope (%):"]
["(B2.4) Length (ft):",null,null,"(D2.4) Length (ft): ",null,13.3,6.25,"(E2.4) Length (ft):"]
[]
["(B3) Flares and Returned Curbs"]
["(B3.1) P.C.P. Crosses the Ramp (Y/N)?"]
["(B3.2)  Flares Present (Y/N)?"]
["(B3.3) Flare Slope (%):","Left","Right"]
[]
["(B3.4) Returned Curbs Protected (Y/N)?"]
[]
[]
["(F) Blended Transitions"]
["(F1) Narrowest Width Measured Perpendicular to the Direction of Travel (ft):"]
["(F2) Steepest Slope Measured Parallel to the Direction of Travel (ft):"]
["(F3) Steepest Cross Slope Measured Perpendicular to the Direction of Travel (%):"]
[]
["(G) General Curb Ramp Elements"]
["(G1) Surfaces and Grade Breaks",null,null,"(G2) Detectable Warning Surfaces",null,null,null,null,"(G3) Gutter Counter Slopes"]
["(G1.1) Are all grade breaks flush (Y/N)?",null,"Y","(G2.1) DWS Present (Y/N)?",null,null,null,"Y","(G3.1) Gutter Counter Slope (%):",null,null,"N/A"]
["(G1.2) Obstructions/ Utility Covers (Y/N)?",null,"N","(G2.2) Adequate Visual Contrast (Y/N)?",null,null,null,"Y","(G3.2) Gutter Flow Line Slope (%):",null,null,1.4999999999999999E-2]
["(G1.3) Vertical Discontinuities (Y/N)?",null,"N","(G2.3) Extends Full Width of Landing (Y/N)?",null,null,null,"Y","(G4) Clear Space & Alignment"]
["(G1.4) Horizontal Gaps (in.)?",null,"N","(G2.4) Both Ends Located at the Back of the Curb (Y/N)?",null,null,null,"Y","(G4.1) Adequate clear Space Beyond Face of Curb (Y/N):",null,null,"Y"]
["(G1.5) Grade Breaks Perp. to Slopes (Y/N)?",null,"Y","(G2.5) Distance of Farthest Corner from Back of the Curb (in.)?",null,null,null,"N/A","(G4.2) Curb Ramp Falls Within Crosswalk (Y/N)?",null,null,"Y"]
["(G1.6) Planar Surfaces (Y/N)?",null,"Y","(G2.6) Length of DWS in the Direction of Travel (in.)?",null,null,null,25,"(G4.3) Curb Ramp Located Outside of Curb Radius (Y/N):",null,null,"N"]
[null,null,null,"(G2.7) Truncated Domes Aligned Perp. to Grade Breaks (Y/N)? ",null,null,null,"Y","(G4.4) Curb Ramp Generally Aligns with Ramp on Other Side of Crossing (Y/N)?",null,null,"Y"]
[]
["Comments/Notes (Such as ponding, Legally parked cars can block, etc.)"]
["ASFAULT PATCH IS UNEVEN AFTER THE CURB"]

{"sheet":"Types","index":1,"n_rows":30,"n_cols":1,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Curb Ramp Types"]
["Perpendicular"]
["Combination"]
["Single Direction"]
["Parallel"]

{"sheet":"GIS Data","index":2,"n_rows":2,"n_cols":75,"rows_kept":2,"cut":false,"hidden":false,"merged":[]}
["A1.1","A1.2","A1.3","A1.4","A1.5","A1.6","A1.7","A1.8","A1.9","A1.10","A1.11","A1.12","B1.1","B1.2","B1.3","B1.4","B2.1","B2.2","B2.3","B2.4","B3.1","B3.2","B3.3L","B3.3R","B3.4","D1.1","D1.2","D1.3","D1.4","D2.1L","D2.1R","D2.2L","D2.2R","D2.3L","D2.3R","D2.4L","D2.4R","E1.1","E1.2","E1.3","E1.4","E2.1L","E2.1C","E2.1R","E2.2L","E2.2C","E2.2R","E2.3L","E2.3C","E2.3R","E2.4L","E2.4C","E2.4R","F1.1","F1.2","F1.3","G1.1","G1.2","G1.3","G1.4","G1.5","G1.6","G2.1","G2.2","G2.3","G2.4","G2.5","G2.6","G2.7","G3.1","G3.2","G4.1","G4.2","G4.3","G4.4"]
[{"$f":"A1.1","v":"R003"},{"$f":"A1.2","v":"N/A"},{"$f":"A1.3","v":"IAN DAVIS"},{"$f":"A1.4","v":42165},{"$f":"A1.5","v":"H"},{"$f":"A1.6","v":"Perpendicular"},{"$f":"A1.7","v":"WEST AVE"},{"$f":"A1.8","v":"COX AVE"},{"$f":"A1.9","v":"S/W"},{"$f":"A1.10","v":3},{"$f":"A1.11","v":"2 WAY STOP"},{"$f":"A1.12","v":"N"},{"$f":"B1.1","v":0},{"$f":"B1.2","v":0},{"$f":"B1.3","v":0},{"$f":"B1.4","v":0},{"$f":"B2.1","v":0},{"$f":"B2.2","v":0},{"$f":"B2.3","v":0},{"$f":"B2.4","v":0},{"$f":"B3.1","v":0},{"$f":"B3.2","v":0},{"$f":"B3.3L","v":0},{"$f":"B3.3R","v":0},{"$f":"B3.4","v":0},{"$f":"D1.1","v":1.7999999999999999E-2},{"$f":"D1.2","v":1.7000000000000001E-2},{"$f":"D1.3","v":4.9000000000000004},{"$f":"D1.4","v":5},{"$f":"D2.1L","v":1.4E-2},{"$f":"D2.1R","v":1.4E-2},{"$f":"D2.2L","v":4.9000000000000004},{"$f":"D2.2R","v":4.9000000000000004},{"$f":"D2.3L","v":7.3999999999999996E-2},{"$f":"D2.3R","v":4.2000000000000003E-2},{"$f":"D2.4L","v":13.3},{"$f":"D2.4R","v":6.25},{"$f":"E1.1","v":0},{"$f":"E1.2","v":0},{"$f":"E1.3","v":0},{"$f":"E1.4","v":0},{"$f":"E2.1L","v":0},{"$f":"E2.1C","v":0},{"$f":"E2.1R","v":0},{"$f":"E2.2L","v":0},{"$f":"E2.2C","v":0},{"$f":"E2.2R","v":0},{"$f":"E2.3L","v":0},{"$f":"E2.3C","v":0},{"$f":"E2.3R","v":0},{"$f":"E2.4L","v":0},{"$f":"E2.4C","v":0},{"$f":"E2.4R","v":0},{"$f":"F1.1","v":0},{"$f":"F1.2","v":0},{"$f":"F1.3","v":0},{"$f":"G1.1","v":"Y"},{"$f":"G1.2","v":"N"},{"$f":"G1.3","v":"N"},{"$f":"G1.4","v":"N"},{"$f":"G1.5","v":"Y"},{"$f":"G1.6","v":"Y"},{"$f":"G2.1","v":"Y"},{"$f":"G2.2","v":"Y"},{"$f":"G2.3","v":"Y"},{"$f":"G2.4","v":"Y"},{"$f":"G2.5","v":"N/A"},{"$f":"G2.6","v":25},{"$f":"G2.7","v":"Y"},{"$f":"G3.1","v":"N/A"},{"$f":"G3.2","v":1.4999999999999999E-2},{"$f":"G4.1","v":"Y"},{"$f":"G4.2","v":"Y"},{"$f":"G4.3","v":"N"},{"$f":"G4.4","v":"Y"}]